Total Materials Checklist

- Chemicals

  - Murashige and Skoog salts (hereafter: MS salts) stored in glass jar with drierite

  - Double deionized H2O

  - UltraPure agar

  - Gibberellic acid, stored in methanol @ -20°C

  - Tween-20

  - 70% Ethanol – large volume for sterilizing seeds

  - 70% Ethanol in spray bottle for sterilizing forceps upon plating

  - Bleach

  - Sterile double Deionized H2O

- Glassware

  - Graduated cylinder (1 L or 250 ml, depending on batch size)

  - (4) 500 mL jars with re-sealable lids OR 2L Erlenmeyer flask (depending on whether making smaller or one large batch of MS agar, respectively)

- Disposables

  - 50 mL centrifuge tubes

  - 15mL centrifuge tubes (if sterilizing/plating many seeds per family) OR

  - 1.5 mL microcentrifuge tubes (if sterilizing/plating ≤~5 seeds per family)

  - pre-sterilized petri dishes: 100 mm or 60mm (depending on seeds/plant)

  - round sterile filter paper (autoclaved): 50 mm or 90mm

- Small Tools

  - Micropipette (for 25 L) and tips

  - Magnetic stir bar & stir plate

  - Forceps

  - Autoclave gloves

  - Autoclaving tray

- General

  - Autoclaving tape

  - Plating grid template (top of a petri dish with a 5x5 grid drawn on it)

  - Weigh boats

  - Aluminum foil

  - Parafilm plastic wrap

  - Latex/lab gloves

  - Paper towels

  - Calculator

  - Timers

  - Sharpie pens

  - Razor blade or scissor

- Large Tools

  - Gas lamp (used when pouring sterile water for sterilizing seeds)

  - Vortex

MS Agar Prep

Materials

- 1 L double Deionized H2O

- 2.15g [0.5x of 1x = 4.3g/L] MS salts (store in a glass jar with Drierite)

- 8g UltraPure agar

- Gibberillic acid stored in methanol at -20 °C

- 2000mL Erlenmeyer flask OR 4-500 mL jars with re-sealable lids (depending on whether making one large batch or several small)

  - NOTE: 1L of MS agar mixture will yield  ~37-40 100mm plates

  - NOTE: 250mL of MS agar mixture will yield ~40-50 60mm plates

- 1L Graduated cylinder

- Magnetic stir bar & stir plate

- Autoclaving tape

- Autoclave gloves

- Autoclave tray

- Aluminum foil

- Latex gloves

- Weigh boats

- Microwave

- Balance and scoopula

Procedure (Instructions for a 1L batch and 4 ¼-batches are given)

- Place magnetic stir bar in flask.

- Measure double deionized H2O in a graduated cylinder.

  - Full Batch: 1L of ddi H2O into 2L Erlenmeyer.

  - Four Quarter Batches: 250 mL of ddi H2O into each 500mL bottle.

- Turn off air conditioning to avoid draft.

- Weigh out MS salts in weigh boat for 0.5x concentration and add to flask.

  - Full Batch: 2.15 g (if using 1x = 4.3g/L)

  - Four Quarter Batches: 0.537g (if using 1x = 4.3g/L) per bottle

- Weigh out agar in weigh boat, add to flask, and allow to mix for a couple of minutes. (Agar will not completely dissolve)

  - Full Batches: 8g of agar

  - Four Quarter Batches: 2g of agar per bottle

- Cover mouth of flask with tin foil, or loosely re-cap bottles, and mark with autoclave tape.

  - Do not remove stir bar, since it is needed later

- Set flask in autoclave basin; fill basin 2” full with water.

- Autoclave on liquid cycle for 20 minutes exposure time (Exhaust time is 0). Assure door is locked and watch for pressure to increase indicating cycle start.

- Retrieve flask (or bottles) from autoclave utilizing autoclave glove for safety and continue to step 12 OR allow to cool and MS agar to set.

- To liquefy set (stored) MS agar: don gloves, loosen cap ½ way for ventilation and microwave for 2-3 minutes or until small bubbles appear.

  - You can set microwave for longer (e.g. 10 minutes); make sure to stand by and watch closely.

- Hand swirl agar until completely liquefied; microwave again if needed.

  - Hold to the light to see if all solid has melted.

- Place flask on magnetic stir plate, set on low to avoid creating more bubbles, and allow to cool slowly until temperature is between 38-43°C (100-110 °F).

- Pipette appropriate amount of methanol-stored Gibberellic acid (GA hormone) to flask to obtain desired concentration (5µM or 1µM.)

  - Prepare GA stock solution

    - Weigh out 1731 µg of GA.

    - Dissolve in 1mL of 100% methanol.

  - 5µM GA enhanced MS agar:

    - Full Batch: add 1000µL of GA stock solution per 1L of MS agar.

    - Four Quarter Batches: add 250µL of GA stock solution per 250mL of MS agar.

  - 1µM GA enhanced MS agar:

    - Full Batch: add 200µL of GA stock solution per 1L of MS agar.

    - Four Quarter Batches: add 50µL of GA stock solution per 250mL of MS agar.

Pouring Plates

Materials

- 70% Ethanol (in spray bottle for sterilization)

- pre-sterilized petri dishes

- Paper towels

- Sharpie pens

Procedure

- In a negative airflow hood, sterilize surface with 70% EtOH.

- Pour liquefied prepared MS agar into sterile petri dish.

  - Do not lift petri dish lid completely; hold in “clamshell” fashion away from face to serve as a barrier between you & bottom of dish.

  - Fill up until level where bottom of top plate would be

  - Put top lid back on

- Allow MS agar to cool and set.

  - While agar cools, sterilize seeds (see below).

- Invert plate once MS agar is firm to avoid condensation pooling onto agar.

Seed Sterilizing

Materials

- 70% Ethanol

- Bleach

- Sterile double Deionized H2O (autoclaved)(double Di H2O that has been autoclaved on liquid cycle for 20 minutes exhaust time- similar to instructions for autoclaving the agar, as seen above).

- Tween-20

- 15mL Falcon tubes

- 50mL conical tubes

- Micropipette and tips

- Vortex

- Sharpie pen

- Razor blade or scissors

- Timer

- Beaker to collect waste

- Sterile filter paper

Procedure

- You will be using:

  - 70% EtOH

  - 50% Clorox solution with Tween-20

  - Sterile water

- Transfer 70% EtOH into a reserve 50mL conical tube.

- Prepare 50% (by volume) bleach solution:

  - Using conical tube graduation, measure 25mL of bleach and to this add 25mL of deionized water.

- Di-water from the tap is okay here because you are mixing it with bleach!

  - To this solution add .05% (by volume) Tween-20.

- For 1% Tween, this is 25µL.

- Use a 20-200 μL micropipette with a wide tip (cut end off of tip to allow for viscosity of Tween-20) to transfer the 25µL of Tween-20.

  - Vortex to mix.

- Transfer sterile double deionized H2O to a reserve 50mL conical solution tube.

  - Transfer utilizing a gas lamp to maintain a sterile environment: Wave opening of sterile water container over flame and pour into a tube near flame.

- Place each packet of seeds in an individual, labeled 15mL Falcon tube.

  - Write date plated & your initials on the seed packet. E.g. “Plated 8/29/12 by RBS”.

  - Store empty seed packets in appropriate place.

- Add enough 70% EtOH to cover seeds plus a couple mLs and vortex. Let seeds settle and drain off excess EtOH into a waste beaker within 1 minute.

  - NOTE: EtOH can kill seeds if in contact too long!

  - Wipe hands after touching the EtOH to avoid wiping off any labeling!

- Add ~2-4mL of bleach solution to seeds, vortex and allow to set for 10 minutes.

  - Keep tubes slanted during 10 minutes to increase the surface area of seeds exposed to solution.

- After the 10 minutes, vortex again, allow seeds to settle, and drain excess solution.

- Add ~2-4mL of sterile water and vortex; let seeds settle, and pour off water. Repeat 3 more times (4 times total).

  - On last wash, leave some water in tube.

- Hold seeds for no greater than 24 hours before plating to avoid premature germination (based on Arabidopsis; best to plate same day).

Plating Seeds

Materials

- 70% Ethanol (in spray bottle for sterilization)

- Sterilized double deionized H2O

- petri dishes with set MS agar

- sterile round filter paper

- Forceps

- Parafilm plastic wrap

- Plating grid template

- Paper towels

- Gloves

- Sharpie pens

- Growth Chambers

- Wear gloves

- In a negative airflow hood, sterilize surface and forceps with 70% EtOH.

- Label bottom of plates with any relevant seed identification information, today’s date, your initials, and type of agar used (e.g. type and concentration of hormone used).

- Place grid template beneath agar filled plate allowing grid to show through.

- Place a piece of sterile filter paper onto the top of a separate sterile petri dish.

- Empty sterilized seeds from falcon tube onto sterilized filter paper.

  - Swirl seeds initially to get them in suspension to facilitate pouring out.

  - If necessary, use additional sterile double deionized water to remove any remaining seeds from tube.

- Sterilize fine-tipped forceps with 70% EtOH and wipe completely dry with a paper towel.

- Using forceps, transfer sterilized seed from the filter paper to one empty quadrant of MS agar following template grid.

  - Use “clamshell” approach, as above, holding the lid to prevent contamination.

  - Replace lid when done.

- Change filter paper & petri dish lid between each tube of seeds.

- Once all seeds are plated, seal completely with parafilm around the plate’s rim.

  - Bacteria can enter if not completely sealed!

  - Store with the MS agar side of the plate down.

- Place sealed seed plates in appropriate growth chambers and observe for germination.

  - Consult germination chart for correct temperature and light conditions for each species.